## HVAC CERTIFICATION CURRICULUM

## Program 2: Advanced HVAC/R Technician & Entrepreneurship Program

Overview: This is a comprehensive HVAC (Heating, Ventilation, Air Conditioning & Refrigeration) training program for entry-level technicians, designed to produce top-of-the-line graduates ready to excel in the field. The program spans approximately 5–6 months of full-time training (or about 720–900 hours total) and covers all critical knowledge and skills aligned with industry standards (EPA & NATE). Students will learn core HVAC theory, hands-on service and installation skills, and will prepare for EPA Section 608 certification and NATE certification exams, among other credentials. The curriculum is kept up-to-date with the latest in HVAC technology (such as high-efficiency systems and smart thermostats) and even includes a module on small business fundamentals for those interested in starting their own HVAC service company. No prior HVAC experience is required – the course is suitable for complete beginners (a high school diploma or GED is recommended). By the end, students will have the confidence to enter the workforce as HVAC technicians or even launch their own contracting business. The program will be licensed by the Arizona State Post-Secondary Education authorities and seek ACCET accreditation, ensuring quality and rigor.

Program Structure & Delivery: Classes are instructor-led (a mix of live lectures and interactive discussions), and supplemented by virtual simulations and hands-on lab work. We leverage an AI-enhanced instructor system for portions of the theory – for example, animated 3D visuals of HVAC components and an AI avatar that can demonstrate procedures (like brazing a refrigerant line or troubleshooting a circuit) step-by-step on screen. Students attend ~20 hours of instruction per week, which includes classroom lessons (can be done via live webinar for theory) and scheduled in-person lab sessions for practical skills (or realistic virtual labs where physical attendance isn’t possible). Each student receives a digital HVAC Training Workbook that parallels the curriculum: it contains detailed diagrams (e.g. wiring schematics, refrigeration cycle diagrams), calculation worksheets (for load calculations, superheat/subcool readings), troubleshooting flowcharts, and practice questions. This workbook is used extensively during the course and serves as a personalized reference manual for the student’s career.

To reinforce learning, each major topic has an end-of-section quiz or knowledge check (for example, a safety quiz after the safety module, or an electrical theory quiz after the electrical module). Throughout the program, students also work on practical skill demonstrations – in labs or via simulation software – such as brazing a pipe, wiring a thermostat, or performing a system evacuation. These skill demos ensure students can apply knowledge in real scenarios. The schedule is typically 5 days a week: 3 days focused on theory/classroom (2–3 hours per day) and 2 days focused on hands-on practice or lab (3–4 hours per lab day). This blend meets the required training hours and maintains engagement by alternating between learning and doing.

Curriculum Modules & Hands-On Training: The HVAC program is organized into logical modules that build from basic fundamentals to advanced troubleshooting. Below is an outline of the modules:

- Module 1: HVAC Fundamentals, Safety & Tools – Introduction to the HVAC trade, including terminology and the basic physics of heating and cooling. Emphasis on safety practices: electrical safety, handling heavy equipment, and the proper use of PPE (personal protective equipment). Students learn tool identification and usage (meters, gauges, hand tools) and shop practices. By the end of this module, students will have OSHA-10 certification (if offered as part of the program) and will be familiar with all tools and safety protocols for the lab. (Hands-on: practice using multimeters, manifold gauge sets, recovery machines; safe soldering/brazing demo.)*

- Module 2: Thermodynamics & Refrigeration Cycle – Deep dive into how refrigeration and air conditioning work. Covers the vapor-compression refrigeration cycle in detail (evaporation, compression, condensation, expansion) and the function of each component (evaporator, compressor, condenser, metering device). Students learn about different refrigerant types and their properties, including newer environmentally friendly refrigerants. There is significant focus on EPA regulations here – ozone depletion potential, global warming potential, and why certain refrigerants are being phased out . This content directly aligns with EPA Section 608 certification requirements, ensuring students understand the laws and best practices for safe refrigerant handling . (Hands-on: analyzing a cut-away compressor, tracing refrigerant flow on training units, calculating superheat and subcooling on a live system.)

- Module 3: Electrical Theory & HVAC Controls – An essential module on electricity basics and control systems as applied to HVAC. Topics include basic electrical theory (voltage, current, resistance, Ohm’s law), AC vs. DC, reading wiring diagrams, and using electrical measurement tools. Students learn how typical HVAC control circuits work – thermostats, relays, contactors, circuit breakers, and the sequence of operations for furnaces and AC units. They wire simple circuits in a simulator or lab setting (e.g. wiring a thermostat to a fan). This module builds strong troubleshooting foundations. (Hands-on: wiring exercises on trainer boards, using multimeters to check circuit continuity and diagnose a faulty component in a simulated system.)

- Module 4: Electric Motors and Components – A focus on the motors and moving parts in HVAC systems. Students study different types of motors (PSC, BLDC, ECM motors in modern systems) and their applications (blower motors, condenser fan motors). Topics include motor start components (capacitors, contactors), fans and pumps, and common mechanical components like belts, pulleys, bearings, etc. Students learn maintenance tasks such as lubrication, belt tensioning, and replacing a motor or capacitor. (Hands-on: disassembling a blower assembly, testing a capacitor, replacing a fan motor in a training unit.)

- Module 5: Heating Systems (Furnaces & Heat Pumps) – Comprehensive coverage of heating equipment. This includes gas furnaces (structure, gas valves, burners, heat exchangers, venting, ignition systems), electric resistance heaters, and an introduction to heat pump systems (refrigerant reversing cycle for heating). Students learn start-up and shutdown sequences, and how to troubleshoot common issues (no heat scenarios, airflow problems, ignition failures). Also discussed are emerging heating technologies like high-efficiency condensing furnaces and geothermal heat pumps (all-weather systems). (Hands-on: examining a cutaway furnace, practice lighting and adjusting a furnace, testing heat pump operation in both heating and cooling modes.)

- Module 6: Air Conditioning & Cooling Systems – Focus on residential and light commercial air conditioning systems (cooling). Students learn about system sizing basics, components of split AC systems and package units, air distribution and ductwork fundamentals, and the importance of proper airflow and refrigerant charge on cooling performance. They cover the use of psychrometric charts to understand humidity, and how to measure air flow, temperature differentials, and overall system performance. Energy efficiency concepts (SEER ratings, energy auditing basics) are included so students understand how to optimize and assess AC systems . Common troubleshooting scenarios for AC (e.g. low charge, dirty coil, faulty compressor) are taught with systematic approaches. (Hands-on: performing a basic AC maintenance check – measuring pressures, temperatures; cleaning condenser coils; checking filter and duct conditions; using an anemometer to measure airflow.)

- Module 7: Ventilation, Ductwork, and Indoor Air Quality – Covers the “V” in HVAC. Students learn duct design principles, how to calculate basic heating/cooling load (Manual J overview) and size ducts (Manual D concepts) to maintain proper airflow and comfort. Topics include fans and ventilation systems, HRVs/ERVs (heat recovery ventilators), filtration and air cleaners, and humidity control (dehumidifiers, humidifiers). Also included is Indoor Air Quality (IAQ) – discussing pollutants, mold, and mitigation techniques (UV lights, filtration). This module ensures students appreciate the full scope of climate control beyond just heating and cooling. (Hands-on: inspecting ductwork in a lab setting, assembling a small duct run, changing various types of filters, measuring static pressure in a duct system.)

- Module 8: Commercial Refrigeration & Appliances – An introduction to refrigeration beyond comfort cooling. Students learn the principles of commercial refrigeration systems (walk-in coolers, supermarket systems) and how they differ from HVAC cooling. Components like expansion valves, evaporator pressure regulators, and defrost systems are covered. Also included is a look at domestic appliances like refrigerators and freezers – their cycles and common issues. While students won’t yet be specialists, this exposure prepares them for a wider job market (foodservice refrigeration, etc.). (Hands-on: examining a training walk-in cooler system, checking pressures on a refrigeration trainer, basic troubleshooting of a refrigerator unit in lab.)

- Module 9: Advanced Diagnostics & Troubleshooting – This critical module ties together all prior knowledge to hone troubleshooting skills. Students are taught a methodical approach to diagnosing HVAC problems. They tackle scenario-based problems (both in discussion and via simulation software that emulates HVAC system faults). Scenarios include: AC not cooling well, furnace short-cycling, heat pump frozen in winter, electrical breaker trips, unusual noises, etc. Students practice reading schematics and using logical step-by-step diagnosis to find the root cause. This module also reinforces customer service skills when interacting during a troubleshooting scenario (explaining issues to customers, etc.). (Hands-on: Simulation challenges – e.g., using a computer simulator to troubleshoot a virtual HVAC system with multiple faults ; or in-lab fault inserts where instructors introduce issues in a training unit for students to find.)

- Module 10: Industry Certification Prep (EPA 608 & NATE) – A focused review module to prepare for certification exams. For EPA Section 608, students are drilled on refrigerant regulations, safety, and the specific content for Type I, II, III and Universal certification . They take practice exams very similar to the real EPA test. Likewise for NATE (North American Technician Excellence) exams, the curriculum covers the core topics and the specialty areas that new technicians commonly pursue (e.g. Air Conditioning, Heat Pumps, Gas Furnaces) . Students complete practice questions and review guides for NATE’s Ready-to-Work or Core exam and one specialty exam. Even though NATE certification typically requires industry experience, this course’s thorough coverage of real-world knowledge and skills ensures graduates are test-ready . (Hands-on: Practice EPA 608 scenarios like identifying high/low pressure appliances, completing required paperwork for refrigerant recovery; NATE-style troubleshooting examples.)

- Module 11: Emerging Technologies & Green HVAC – A look at the future-facing aspects of HVAC. Topics include smart thermostats and IoT integration (students might install and program a Wi-Fi thermostat), variable refrigerant flow (VRF) systems and their advantages, the latest high-efficiency HVAC units (inverter-driven compressors), and eco-friendly innovations like solar-assisted HVAC and geothermal systems. We also cover sustainability practices – proper refrigerant recovery (as mandated by EPA), recycling, and energy-efficient system design. This module keeps students at the cutting edge, able to discuss and work with modern HVAC technologies as they enter the field. (Hands-on: exploring a smart thermostat’s features through a training app, demonstration of a VRF unit operation via video or live if available.)

- Module 12: Business & Career Development – In the final part of the program, students are given tools and knowledge to jumpstart their careers. This includes job search skills (resume writing tailored to HVAC, interview practice, understanding what employers seek) as well as an entrepreneurship overview. For those who may start their own HVAC business eventually, we cover basics like contractor licensing requirements (specific to Arizona if applicable), business plan elements for an HVAC service, marketing strategies (online reviews, referrals), and customer relationship management. Understanding how to price jobs, manage inventory (parts), and the importance of continuing education/certifications is emphasized. Students also get guidance on registering for their EPA 608 exam (which may be proctored as part of the course) and NATE exams. (Interactive: Students create a simple business plan outline or marketing plan for a hypothetical new HVAC company, and practice a mock job interview.)

Assessments & Certification Exams: Throughout the program, quizzes at the end of each module test theoretical knowledge (minimum passing score required to move forward, with remediation available). The hands-on competencies are tracked via a skills checklist – for example, an instructor will sign off when a student successfully wires a thermostat or performs a refrigerant recovery procedure. In the final weeks, a comprehensive practical exam is administered: students might be given a malfunctioning HVAC scenario (either on real equipment or a high-fidelity simulator) and must troubleshoot and repair it within a time limit, demonstrating safety and proper technique. They will also take a written final exam covering all major academic subjects (safety, electrical, refrigeration cycle, etc.).

Crucially, the program includes official EPA 608 certification testing – we arrange for the proctored EPA exam so that students can earn their Universal EPA license by graduation (this is often a requirement for employment in HVAC) . We also include a NATE Ready-to-Work certificate exam or NATE Core & Specialty exam attempt (voucher or on-site testing) so that motivated students can obtain this industry-respected credential . The coursework has been aligned to NATE’s knowledge areas (e.g. air conditioning, heat pumps, etc. ), giving students a strong chance of passing. Additionally, students receive an HVAC Technician Certificate of Completion from our institution, showing they completed an accredited 5-6 month training. This certificate, combined with EPA and any NATE credentials earned, will make them highly competitive in the job market.

Career Outlook & Support: The demand for skilled HVAC technicians is high and growing, and our curriculum ensures graduates meet this demand with both technical skills and professional readiness . We provide job placement assistance – including a network of local HVAC companies – to help students secure employment quickly upon completion. The entrepreneurial training means graduates also have the option to pursue independent contracting or small business opportunities, equipped with knowledge of industry best practices and licensing. By covering every aspect from technical fundamentals to advanced troubleshooting and business acumen, this HVAC program aims to “absolutely blow people out of the water” with the caliber of technicians it produces. Students will leave confident, certified, and prepared to “kill it” in the HVAC industry as top-of-the-line new professionals.